An isotopic fingerprint for phosphorus in drinking water supplies

Daren C Gooddy*a, Daniel J Lapwortha, Matthew J Ascotta, Sarah A Bennettb, Timothy H E Heatonb, Ben W J Surridgec

aBritish Geological Survey, Maclean Building, Wallingford, Oxfordshire, OX10 8BB, UK

bNERC Isotope Geoscience Laboratory, British Geological Survey, Keyworth, Nottingham, NG12 5GG, UK

cLancaster Environment Centre, Lancaster University, Bailrigg, Lancaster, LA1 3PP, UK

*Corresponding author

Phone +44 1491 692328; email dcg@bgs.ac.uk

ABSTRACT

Phosphate dosing of drinking water supplies, coupled with leakage from distribution networks, represents a significant input of phosphorus to the environment. The oxygen isotope composition of phosphate (δ18OPO4), a novel stable isotope tracer for phosphorus, offers new opportunities to understand the importance of phosphorus derived from sources such as drinking water. We report the first assessment of δ18OPO4 within drinking water supplies. Forty samples from phosphate-dosed distribution networks were analysed from across England and Wales. In addition, samples of the source orthophosphoric acid used for dosing were also analysed. Two distinct isotopic signatures for drinking water were identified (average = +13.2‰ or +19.7‰), primarily determined by δ18OPO4 of the source acid (average = +12.4‰ or +19.7‰). Depending on the source acid used, drinking water δ18OPO4 appears isotopically distinct from a number of other phosphorus sources. Isotopic offsets from the source acid ranging from -0.9‰ to +2.8‰ were observed. There was little evidence that equilibrium isotope fractionation dominated within the networks, with offsets from temperature-dependent equilibrium ranging from -4.8‰ to +4.2‰. Whilst partial equilibrium fractionation may have occurred, kinetic effects associated with microbial uptake of phosphorus or abiotic sorption and dissolution reactions may also contribute to δ18OPO4 within drinking water supplies.

INTRODUCTION

In many developed countries, legacy lead piping is a major source of lead contamination in drinking water1,2 which has been associated with reduced cognitive development in young children3,4  and an increased risk of coronary heart disease or stroke due to increased blood pressure5,6. Public water utilities in the UK, parts of Europe and North America routinely dose drinking water supplies with phosphate in order to prevent pipe corrosion and the dissolution of lead. For example, in the UK, phosphate dosing is currently the only viable approach to achieve the drinking water standard of <10 µg L-1 lead at customers’ taps7. Inorganic phosphate (commonly phosphoric acid or monosodium phosphate) is dosed to drinking water supplies, leading to the formation of lead phosphate or calcium phosphate precipitates on the inside of service lines and household plumbing. These precipitates have lower solubility than lead corrosion products (primarily lead carbonates) that otherwise line the inside of drinking water supply pipes, thereby reducing the concentration of lead in solution alongside the concentration of other solutes derived from pipe corrosion products, including copper7.

Phosphate dosing of drinking water supplies represents a pervasive and potentially significant source of phosphorus (P) within the environment. For example, based on a US survey conducted in 1992, more than half of water utilities used phosphate-based corrosion inhibitors8, and this figure has continued to rise9. In the UK, approximately 95% of drinking water supplies are currently dosed to concentrations ranging from 500 to 1500 µg P L-1, depending on alkalinity within the supply10.  It is estimated that phosphate dosing of drinking water accounts for approximately 6% of the annual P load entering waste water treatment works in the UK11. Further, a significant proportion of the drinking water being distributed is lost due to leakage into the soil or shallow groundwater surrounding distribution networks. Latest statistics show that the biggest UK water utilities lose 25% to 27% of drinking water to leakage12, which equates to approximately 200 L per customer per day. Based on these figures, a conservative estimate of drinking water leakage for the UK corresponds to around 1000 tonnes of phosphate entering the environment annually. Given that phosphate dosing typically achieves concentrations of P in drinking water supplies that are some 30 times higher than current UK standards for P in rivers13, the leaking of drinking water could represent a significant source of P within the environment14. Similar issues surround dosing and leakage of drinking water supplies in many other parts of Europe and North America15-19.

However, identifying the relative contribution of drinking water to P within the environment, alongside the ecological significance of P from this source, remain significant challenges, as they do for nearly all sources of P. The potential to use the stable oxygen isotope composition of phosphate (18OPO4) as both an inherent tracer of P source and as a dynamic tracer for reaction processes affecting P cycling in the environment has recently emerged20-24. Davies et al.25 synthesised the existing data for 18OPO4 within aquatic ecosystems (adapted in Figure 1).

This global dataset remains relatively small and potentially important sources of P within the environment, including drinking water supplies, have yet to be analysed for 18OPO4 anywhere in the world. Distinctive 18OPO4 within individual sources of P is a fundamental pre-requisite for using 18OPO4 to constrain the relative importance of different sources of P within a water sample. Therefore, proper evaluation of the potential of 18OPO4 as a source apportionment tool requires expansion of the global library of source characterisations. Further, isotope fractionation of the oxygen atoms in phosphate ions only occurs at typical Earth surface water temperature and pressure by enzyme-mediated biochemical reactions26. In particular, intracellular metabolic reactions catalysed by the inorganic pyrophosphatase enzyme lead to rapid, temperature-dependent equilibrium between oxygen in phosphate and oxygen within the intracellular fluid.  The latter is expected to be identical in oxygen isotope composition to water-oxygen (18OH2O) in the extracellular environment. Given sufficient intracellular-extracellular exchange of P to maintain non-lethal intracellular P concentrations, a temperature-dependent equilibrium fractionation will be established between δ18OPO4 and  δ18OH2O in the extracellular environment. The oxygen isotope fractionation between dissolved inorganic phosphate and water (PO4-H2O) at surface temperatures has recently been determined, using laboratory solutions catalyzed by the inorganic pyrophosphatase enzyme27. These authors derived the equation:

103lnαPO4-H2O=14.43×(103T)-26.54						(1)

where T is in degrees Kelvin. Since:

αPO4-H2O=(δ18OPO4+1000)(δ18OH2O+1000)					(2)

by combining 1 and 2 above, theoretical equilibrium 18OPO4 may be calculated from:

δ18OPO4=δ18OH2O+1000×e[14.43×(103T)-26.54]1000-1000			(3)

Proper interpretation of isotope fractionations affecting δ18OPO4 in the environment also requires the isotopic composition of sources of P to be characterised, in order to differentiate between biologically-mediated isotope fractionation within an environmental sample and bulk mixing with an isotopically distinct, but currently uncharacterised, P source.

Beyond the use of 18OPO4 to understand the sources and metabolism of P in the environment, 18OPO4 may also have utility as a marker of leakage from drinking water distribution networks. Although water companies already have well-established protocols for tracing leaks, based on a range of parameters including residual chlorine and trihalomethane (THMs) concentrations, these methods are far from perfect28. For example, the concentrations of both residual chlorine and THMs decrease dramatically with time to below detection limits, due to their volatile nature. Therefore, 18OPO4 may provide a useful additional marker of leakage from drinking water supplies, distinguishing drinking water from other potential sources of P such as leaking sewers, agricultural runoff or geological P within groundwater.

In the research reported here, we hypothesised that:

i) The 18OPO4 of phosphate used to dose supplies means that drinking water is isotopically distinct from other sources of P within the environment, and;

ii) The 18OPO4 of drinking water is conservative within the distribution network, due to suppression of metabolic activity through, for example, the chlorination of drinking water supplies.

This paper reports data from a wide range of drinking water supplies in England and Wales in order to evaluate these hypothesises and to contribute to the global library of 18OPO4 for a range of P sources within the environment.

MATERIALS AND METHODS

Sites and sampling

Samples of drinking water were collected between July and October 2014 from the distribution network of 12 public water utilities across England and Wales where phosphate dosing occurs. A minimum of two, but more generally three, locations were sampled from the network of each water utility (Figure 2). Samples from each water utility were selected to come from different supply areas and therefore different raw water sources, including a range of groundwaters, river waters and surface impoundment reservoirs. Sample taps, which were either customer taps or mains hydrants, were allowed to run until water temperature stabilised, which generally took approximately five minutes. Temperature stability was used to indicate when water in the local system had been flushed by water representative of that within the drinking water distribution network. In addition, a sampling transect running for 7 km from the point of water entry into the drinking water distribution network was established at one site in the south east of England. The transect included five sampling locations spaced at 1-2 km intervals along the network, designed to allow an initial evaluation of isotope changes within the distribution network that might be due to metabolic activity29, sorption or precipitation/dissolution reactions that had not reached equilibrium during the residence time of water in the distribution network30. The residence time of water at the end of the distribution network is determined by water demand, but can be of the order of hours to several days. All water samples for δ18OPO4 analysis were collected in 5 L Nalgene© bottles and returned under ice to the laboratory for extraction. Additional samples for determination of δ18OH2O and of phosphate concentration were also collected in 50 mL glass vials. All water utilities in this research used orthophosphoric acid to dose drinking water supplies. Samples of acid were acquired from the suppliers for these water companies and analysed for δ18OPO4. For these samples, 4 mL of concentrated acid solution was added to 10 L of ultrapure water and the pH raised to 6.8 ± 0.1 using 0.1 M NaOH, before being extracted and analysed as described below.

Isotope analysis

The method used to isolate phosphate from drinking water samples for isotope analysis is described elsewhere31 and shown in Figure 3. All samples were processed within 24 h of collection and were stored in the dark at 4 °C prior to processing. In brief, the majority of dissolved organic matter within a sample was first removed using a DAX-8 organic exchange resin and phosphate then isolated from the remaining matrix by adsorption onto an anion exchange resin. Phosphate was eluted and chromatographically separated from other anions (NO3- and SO42-) using a 0.3 M KCl eluent. Eluted fractions containing only phosphate were combined and then processed using a modified version of the method of McLaughlin et al.32 to yield a silver phosphate precipitate (Ag3PO4) for δ18OPO4 analysis.

18O/16O ratios of Ag3PO4 were analysed by thermal conversion to CO gas at 1400 °C in a TC–EA on-line to a Delta Plus XL mass spectrometer (ThermoFinnigan, Bremen, Germany). δ18O values versus VSMOW were calculated by comparison with an internally calibrated laboratory standard (Alfa Aesar silver phosphate 99%). In the absence of an international Ag3PO4 reference material, the δ18O value of the laboratory standard was derived by comparison with the Ag3PO4 standard ‘B2207’ (supplied by Elemental Microanalysis Ltd, Okehampton, England), measured in an inter-laboratory comparison study to have a certified δ18O value of +21.7‰ versus VSMOW. Carbon monoxide yields of Ag3PO4 samples were always within ±10% of those of the laboratory standard, and any organic contamination was deemed negligible on the basis that samples contained <0.2% carbon by weight (based on separate elemental analysis). Precipitates were analysed by mass spectrometry in duplicate.

RESULTS AND DISCUSSION

Orthophosphoric acid dosing solutions

Water utilities in England and Wales buy their stock orthophosphoric acid solution from one of three distributors. Information obtained from the utilities indicated that they do not change distributors and have always used the same product. Therefore, the source of P used to dose drinking water supplies is assumed to remain constant, as is the isotopic composition of this source, on the basis that orthophosphoric acid is derived from a consistent source of rock P and manufacturing process by the original suppliers. Table 1 reports δ18OPO4 for the orthophosphoric acid used by water utilities in England and Wales. Each sample was extracted in duplicate using the scheme reported in Figure 3 and then analysed in duplicate by mass spectrometry. The data indicate two distinct isotope compositions for the orthophosphoric acid used to dose drinking water supplies. For distributor 1, δ18OPO4 values ranged between +12.3 and +12.5‰, whereas for distributors 2 and 3 values varied between +19.3 and +20.0‰. Although the distributors differ, the original orthophosphoric acid for distributors 2 and 3 comes from a single supplier, explaining the similar δ18OPO4 composition and suggesting these distributors can effectively been seen as supplying an isotopically consistent stock of orthophosphic acid. Therefore, average δ18OPO4 for the different stocks is +12.4‰ and +19.7‰, hereafter referred to as source A (+12.4‰) and source B (+19.7‰).

Information from the manufacturers indicates that source A acid is derived from rock P mined in China and is produced via the thermal process by burning phosphorus in air. In contrast, source B acid is derived from rock P mined in Morocco and is produced via the ‘wet’ process, also commonly used in fertiliser manufacture, by adding concentrated sulphuric acid to phosphate rock. It remains unclear whether the difference in isotope composition between source A and source B acids is due to the geographical location of the mined rock P reserves or the orthophosphoric acid production process, or indeed both. This is an area that should be subject to further investigation, but was beyond the scope of the research reported here.

Drinking water supplies

Table 2 reports the full dataset from all 40 samples collected from the drinking water distribution networks. Of these sites, 70% were dosed with orthophosphoric acid from source A and 30% from source B, to final concentrations that range from 375 to 1725 µg P L-1. Whilst significantly elevated compared to natural surface water or groundwater, these P concentrations are typical for dosed drinking water supplies under low and high alkalinity conditions respectively. Measured δ18OPO4 within samples of drinking water ranged from +12.5 to +20.3‰. However, if these data are sub-divided on the basis of the stock orthophosphoric acid solution used for dosing, δ18OPO4 for samples of drinking water dosed with source A (hereafter type A) averaged +13.2‰ (range = +12.5 – +15.2‰), whilst samples of drinking water dosed with source B (hereafter type B) averaged +19.7‰ (range = +18.8 – +20.3‰). The difference between measured δ18OPO4 in samples of drinking water and in the relevant acid dosing solutions is reported in Figure 4, where T-S = 18OtapPO4 - 18OsourcePO4. The average difference between measured δ18OPO4 in samples of drinking water and in source A was +0.82‰ (range = +0.1 – +2.8‰), whilst for samples dosed with source B the average difference was +0.04‰ (range = -0.9 – +0.6‰).

Measured δ18OH2O ranged from -7.90 to -5.15‰, typical for freshwaters in the UK33, whilst temperature variation (6.0 to 21.7 ° C) largely reflected average daily air temperature on the day of sampling. Temperature and δ18OH2O data resulted in a relatively narrow range of theoretical equilibrium δ18OPO4 values (+15.4 – +18.1‰), based on equation 3. Comparing measured and theoretical equilibrium δ18OPO4, only one sample of drinking water was within 1‰ of the theoretical equilibrium, with an average offset from equilibrium of ±2.9‰ (range -4.2 – +4.8‰). There was no correlation between the magnitude of the departure from equilibrium and either water temperature or δ18OH2O (Figures 5a and 5b).

Samples ‘Tap23 to Tap27’ in Table 2 represent increasing distance along a 7 km sampling transect from the point of entry of water into a distribution network from a treatment works that dosed water with source B orthophosphoric acid. Over the full length of the 7 km transect, PO4 concentration decreased from 730 to 645 µg L-1, δ18OPO4 decreased from +19.9 to +19.6‰, and calculated equilibrium δ18OPO4 decreased from +17.1 to +16.3‰ (Figure 6).

Controls on δ18OPO4 within drinking water supplies

Within the distribution networks sampled across England and Wales, δ18OPO4 is primarily determined by δ18OPO4 of the stock orthophosphoric acid solution dosed into supplies by water companies to reduce plumbosolvency. Our research reveals two distinct isotopic signatures for drinking water (Figure 4), reflecting the influence of two orthophosphoric acid solutions with average δ18OPO4 of either +12.4 or +19.7‰. There was little evidence for isotope fractionation causing δ18OPO4 within samples of drinking water to reach the expected theoretical equilibrium, with an average offset from equilibrium of approximately ±3‰ across the full dataset. This is likely the result of light limitation within distribution networks minimising photoautotrophic activity, alongside chlorination of drinking water supplies supressing autotrophic or heterotrophic metabolic activity.

Our data indicate that δ18OPO4 has the potential to act as a source marker for P derived from drinking water supplies. In relation to the isotope composition of other sources of P within the environment (Figure 7), isotopic differentiation of P within drinking water appears to depend on which orthophosphoric acid solution has been used to dose drinking water supplies. Based on our dataset, isotopic differentiation following dosing with source A acid (the mostly commonly used in this study) could be expected, whilst drinking water samples dosed with source B acid would have an isotopic composition that overlaps with a number of alternative sources of P. However, currently the UK is fairly unique in its exclusive use of orthophosphoric acid as a phosphate inhibitor. In the USA a wide range of inhibitors are used34 including zinc orthophosphate, zinc polyphosphate and poly-orthophosphate blends, of which the δ18OPO4 composition is not known. Therefore, extrapolating our results to other geographical locations would require additional source characterisation work.

Initial leakage of drinking water that has been dosed with phosphate would deliver P-rich water into soils and shallow groundwater aquifers that immediately surround a distribution network. Whilst characterisation of δ18OPO4 in soil water and groundwater remains extremely limited, initial data indicate a range of +15.1 – +22.4‰ in groundwater samples from the USA22,29,35 and +10.7 – +24.5‰ in soil leachate or in soil extracts that represent water-soluble or loosely-adsorbed P36, although these soil water analyses were based on samples incubated with additional fertiliser or wastewater sources of P. These initial soil water and groundwater δ18OPO4 data again indicate potential for isotopic differentiation compared to drinking water, depending on the isotopic composition of the stock orthophosphoric acid used to dose drinking water supplies. However, the global dataset used to derive Figure 7 and the δ18OPO4 ranges for soil water and groundwater remains small. Expansion of this dataset is required, both geographically and through time, in order to properly assess the isotopic composition and differentiation of P sources within the environment23. In addition, whilst the isotopic composition of individual sources of P may overlap on a global scale, isotopic differentiation may exist at more local scales. Therefore, the isotope composition of significant sources of P should be constrained at a scale appropriate to individual research or management questions, rather than relying solely on globally-averaged values for δ18OPO4 of individual sources of P.

For approximately 45% of the samples of drinking water, measured δ18OPO4 was within ±0.5‰ of the δ18OPO4 of the relevant orthophosphoric acid solution. However, substantial differences were observed for the remaining samples, particularly type A with a maximum difference compared to the source orthophosphoric acid of +2.8‰. For six of the 40 drinking water samples (all dosed with source B), isotopic changes appeared to move samples further away from, rather than towards, theoretical equilibrium. However, for the remaining type B samples, and for all type A samples, the direction of apparent isotopic change was consistent with movement towards theoretical equilibrium. Along the sampling transect within the drinking water supply network (Figure 6), δ18OPO4 moved towards the theoretical equilibrium by 0.3-0.4‰ and there was a positive correlation between δ18OPO4 and δ18OH2O (r = 0.92). Taken together, these data suggest that uptake, intracellular metabolic reactions catalysed by the inorganic pyrophosphatase enzyme, and subsequent release of P to the extracellular environment may have occurred within the distribution network, partially imposing an equilibrium fractionation on P within drinking water27. Indeed, despite chlorination and other disinfection processes, the presence of bacteria in public distribution networks is well documented37-39. However, on average, samples remained approximately ±3‰ offset from the actual theoretical equilibrium value, indicating that the rate and extent of extracellular-intracellular cycling of P were not sufficient to establish full equilibrium. Further, across the entire dataset, there was no positive correlation between δ18OPO4 and δ18OH2O, suggesting limited intracellular metabolism of P within the distribution networks29. This is likely to reflect the limited residence time of water within the distribution networks, the suppression (although not exclusion) of metabolic activity due to chlorination of water supplies, and the high P concentration in drinking water supplies that is significantly in excess of metabolic requirements.

For all drinking water samples dosed with source A acid, measured δ18OPO4 was higher than that of the source orthophosphoric acid. Whilst equilibrium fractionations associated with intracellular metabolic reactions catalysed by the inorganic pyrophosphatase enzyme may have been responsible for this observed difference, the data are also consistent with isotope effects due to other potential mechanisms operating within the distribution network. The uptake of P by microbial cells is accompanied by a kinetic effect that affects the partitioning of phosphate ions, rather than fractionation of the oxygen atoms in phosphate, favouring uptake of isotopically lighter phosphate ions and resulting in an increase in δ18OPO4 within the extracellular environment20. Further, the initial stages of the sorption of P to iron-oxides have also been shown to preferentially remove isotopically lighter phosphate ions from solution, and to be independent of temperature30. If the formation of lead phosphate or calcium phosphate precipitates within a distribution network was at disequilibrium and was associated with a similar kinetic effect, this may also have contributed to the increase in δ18OPO4 observed in our data when comparing the isotopic composition of samples of drinking water to the source orthophosphoric acid solution.

Phosphate release from iron/steel distribution pipes themselves also represents a potential source of P in distribution networks40. Corrosion of pipes can lead to dissolution of phosphate that was previously sorbed to poorly crystalline iron oxides, or was added during the manufacture of the iron/steel pipes. This release of phosphate into solution could result in a kinetic isotope effect, in which isotopically lighter phosphate ions are preferentially released back into solution41. This may partly explain the observed decline in δ18OPO4 reported in Figure 6 and observations of δ18OPO4 in drinking water samples below that in the corresponding source acid use to dose a supply. Experimental data using 100µg/L P showed that PO4 released from iron pipes is of the order of ten times less than the rate at which it is supplied40. Taking into account the concentrations of PO4 >> 100 µg/L P that have been used in the systems studied here, we believe that release from iron pipes is unlikely to be a significant source of phosphate and that any associated isotope effects would likely be insignificant compared to the isotope composition of the source acid. However, distribution networks are clearly complex biogeochemical reactors that accumulate a large reservoir of phosphate with the potential to subsequently exchange with phosphate in drinking water. The precise isotope effects associated with this exchange should be subject to further research.

Finally, it is possible that the shift in δ18OPO4 observed in samples of drinking water compared to the relevant stock orthophosphoric acid was not caused by isotope fractionation or kinetic effects, but instead by mixing of at least two different sources of P that were isotopically-distinct, for example stock orthophosphoric acid and P already present in raw water sources before dosing. Whilst this may account for small shifts in the isotopic composition of some drinking water samples compared to the source acid, we believe this is unlikely to account for large shifts, particularly up to the maximum of +2.8‰ that was observed in our data. For example, assuming a P concentration in raw water of 50 µg P L-1, a raw water dosed with source A acid and the average P concentration and average δ18OPO4 reported in Table 2 for type A samples, isotope mass balance suggests that δ18OPO4 for raw water of +28.3‰ would be required to explain the observed shift in δ18OPO4 due to mixing alone. Given that a raw water concentration of 50 µg P L-1 is high for many raw water sources in the UK, alongside the fact that +28.3‰ is above δ18OPO4 reported to date for any natural water sample across the world25, we believe that mixing alone is unlikely to explain our observations.

Future development of δ18OPO4 in the context of drinking water supplies

The dataset reported here represents, to the best of our knowledge, the first attempt to characterise δ18OPO4 within drinking water supplies. Given the widespread use of phosphate dosing in drinking water, coupled with evidence of isotopic differentiation between drinking water supplies and other sources of P within the environment, we believe that the application of δ18OPO4 analyses in this area deserves further attention. Firstly, the global library for δ18OPO4 within drinking water distribution networks should be expanded to include other countries in which dosing with phosphate occurs. This research should cover different forms of phosphate inhibitor as well as phosphate stocks that potentially differ significantly in δ18OPO4 compared to those analysed in our research. In addition, particularly for distribution networks that do not receive phosphate dosing, the δ18OPO4 of raw water should also be characterised. Secondly, isotope fractionation or abiotic isotope effects that influence δ18OPO4 within the drinking water distribution network require further analysis, spanning a range of residence times with different network configurations and pipe construction materials, as well as different approaches to suppressing metabolic activity within a network that are likely to have variable impacts on isotope fractionations associated with metabolism. Thirdly, δ18OPO4 could be used to explore biogeochemical cycling of P derived from drinking water supplies in the wider environment. Research could focus on locations of drinking water leakage, the cycling of drinking water-derived P within soil or groundwater and subsequent delivery to surface waters. Alternatively, drinking water δ18OPO4 could be examined as one constraint on the isotopic composition of influent water to waste water treatment works, as part of understanding the isotope effects associated with subsequent treatment processes.

Acknowledgements

We thank the Associate Editor and three reviewers for their insightful comments that significantly improved this manuscript. The authors are also very grateful to the 12 water utility companies who collaborated and assisted with this study, as well as to Dr Carl Szőcs of Prayon, Belgium and Mr Martin Leighton of Airedale, UK. The authors thank Mr Peter Williams for his help in processing the silver phosphate precipitates. This paper is published with the permission of the Executive Director, British Geological Survey (NERC).

References

(1) Edwards, M.; Triantafyllidou, S.; Best, D. Elevated blood lead in young children due to lead-containing drinking water.  Environ. Sci. Technol. 2009, 43, 1618-1623.

(2) Edwards, M. Fetal death and reduced birth rates associated with exposure to lead-contaminated drinking water. Environ. Sci. Technol. 2014, 48, 739-746

(3) Langphear, B.P.; Hornung, R.;, Khoury, J.; Yolton, K.; Baghurst, P.; Bellinger, D.C.; Canfield, R.L.; Dietrich, K.N et al. Low-level environmental lead exposure and children’s intellectual function: an international pooled analysis. Environ. Health Persp. 2005, 113, 894-899.

(4) WHO 2010; Booklet on Childhood Lead Poisoning. ISBN 978 924 150033 3.

(5) Gordon, C.; Hutchinson, T. Global perspectives on lead, mercury and cadmium cycling in the environment; Franklin Book Company: Elkins Park, PA, 1994.

(6) Pocock, S.J.; Shaper, A.G.; Ashby, H.T; Dewes, H.T.; Clayton, B.E. The relationship between blood lead, blood pressure, stroke and heart attacks in middle-aged British men. Environ. Health Persp. 1988, 78, 23-30.

(7) Comber, S.;Cassé, F.; Brown, B.; Martin, J.;Hillis, P.; Gardner, M. Phosphate treatment to reduce plumbosolvency of drinking water also reduces discharges of copper into environmental surface waters. . Water Environ. J. 2011, 25, 266-270

(8) Dodrill, D; Edwards, M. Corrosion control on the basis of Utility experience. J Am. Water Works Assoc. 1995, 87, 74

(9) Edwards M, Jacobs S and Dodrill D. Desktop guidance for mitigating Pb and Cu corrosion by-products.  J. Am. Water Works Assoc. 1999, 95, 66-77.

(10) CIWEM. Policies: Lead in drinking water. 2007; http://www.ciwem.org/policy/policies/lead.asp

(11) Comber, S.; Gardner, M’; Georges, K.; Blackwood, D.; Gilmour, D. Domestic source of phosphorus to sewage treatment works. Environ. Technol. 2013, 34 (10), 1349-1358.

(12) OFWAT 2012; http://www.ofwat.gov.uk/regulating/reporting/prs_web2012-13performance

(13) Willby, N.; Phillips, G.; Kelly, M.; Mainstone, C. A revised approach to setting nutrient standards in UK rivers. 2012; FTT017 (Freshwater Task Team of UKTAG).

(14) Holman, I.P.; Whelan, M.J.; Howden, N.J.K.; Bellamy, P.H.; Wilby,N.J.; Rivas-Casado, M.; McConvey, P. Phosphorus in groundwater – an overlooked contributor to eutrophication. Hydrol. Process. 2008, 22, 5121-5127.

(15) EPA. Innovation and research for water infrastructure for the 21st century. 2007. Publication No.600/X-09/003.

(16) Flem, B.; Reimann, C.; Birke, M.; Banks, D.; Filzmoser, P.; Frengstag, B. Inorganic chemical quality of European Tap-water:2. Geographical distribution. Appl. Geochem,2015 doi:http://dx.doi.org/10.1016/j.apgeochem.2015.01.016.

(17) Gallet, D.;, Chen, A.; Choi, J.; Nichols, K. Water loss control in the Great Lakes States: A Utility Survey Report. 2012; http://www.cnt.org/resources/water-loss-control-in-the-great-lakes-states-a-utility-survey-report-2/

(18) Lerner, D.N. Identifying and quantifying urban recharge: a review. Hydrogeol. J. 2002, 10, 143-152.

(19) McFeters, G.A.; Kippin, J.S.; LeChevallier, M.W. Injured coliforms in drinking water. Appl. Environ. Microbiol. 1986, 51 (1), 1-5.

(20) Blake, R.E.; O’Neil, J.R.; Surkov, A.V. Biogeochemical cycling of phosphorus: Insights from oxygen isotope effects of phosphoenzymes. Am. J. Sci. 2005 (305), 6-8, 596-620.

(21) Gruau, G.; Legeas, M.; Riouu, C.;, Gallacier, E.; Martineau, H.; Hénin, O. The oxygen isotope composition of dissolved anthropogenic phosphates: a new tool for eutrophication research? Water Res. 2005, 39, 232-238.

(22) McLaughlin, K.; Cade-Menun, B.J.; Paytan, A. The oxygen isotope composition of phosphate in Elkhorn Slough, California: A tracer of phosphate sources. Estuar. Coastal Shelf Sci. 2006, 70, 499-506.

(23) Elsbury, K.E.; Paytan, A.; Ostrom, N.E.; Kendall, C.; Young, M.B.; McLaughlin, K.;, Rollog, M.E.; Watson, S.. Using Oxygen Isotopes of Phosphate To Trace Phosphorus Sources and Cycling in Lake Erie. Environ. Sci. Technol. 2009, 43, 3108.

(24) Li, X.; Wang, Y.; Stern, J.; Gu, B. Isotopic evidence for the source and fate of phosphorus in Everglades wetland ecosystems. Appl. Geochem. 2011, 26, 688-695.

(25) Davies, C.L.; Surridge, B.W.J.; Gooddy, D.C. Phosphate oxygen isotopes within aquatic ecosystems: Global data synthesis and future research priorities. Sci. Total Environ. 2014, 496, 563-575.

(26) Blake, R.E.; O’Neil, J.R.; Garcia, G.A. Oxygen isotope systematics of biologically mediated reactions of phosphate: 1. Microbial degradation of organophosphorus compounds. Geochem. Cosmochim. Acta. 1997, 61, 4411-4422.

(27) Chang, S.J.; Blake, R.E. Precise calibration of equilibrium oxygen isotope fractionations between dissolved phosphate and water from 3 to 37°C. Geochem. Cosmochim. Acta. 2015, 150, 314-329.

(28) Barrett, M.H.; Hiscock, K.M.; Pedley, S.; Lerner, D.N.; Tellam, J.H.;French, M.J. Marker species for identifying urban groundwater recharge sources: A review and case study in Nottingham, UK. Water Res. 1999, 33 (14), 3083-3097.

(29) Blake, R.E.; Alt, J.C.; Martini, A.M. Oxygen isotope ratios of PO4: an inorganic indicator of enzymatic activity and P metabolism and a new biomarker in the search for life. Proc. Natl. Acad. Sci. U S A. 2001, 98, 2148-2153.

(30) Jaisi, D.P.; Blake, R.E.; Kukkadapu, R.K. Fractionation of oxygen isotopes in phosphate during its interaction with iron oxides. Geochim. Cosmochim. Acta. 2010, 74, 1309-1319

(31) Lapworth, D.J.; Surridge, B.J.W.; Williams, P.J.; Heaton, T.H.E.; Gooddy, D.C. Method for analysis of phosphate 18O/16O ratios for waters with high C:P ratios. British Geological Survey Open Report OR/14/67, 2014.

(32) McLaughlin, K.; Silva, S.; Kendall, C.; Stuart-Williams, H.; Paytan, A.  A precise method for the analysis of δ18O of dissolved inorganic phosphate in seawater. Limnol. Oceanogr. Methods. 2004 2, 202.

(33) Darling, W.G.; Bath, A.H.; Talbot, J.C. The O & H stable isotopic composition of fresh waters in the British Isles. 2. Surface waters and groundwater. Hydrol. Earth Syst. Sci. 2003, 7( 2), 183-195.

(34) McNeill, L.S.; Edwards, M. Phosphate inhibitor use at US utilities. J. Am. Water Works Assoc. 2002, 94, 7, 57-63

(35) Young, M.B.; McLaughlin, K.; Kendall, C.; Stringfellow, W.; Rollog, M.; Elsbury, K., Donald, E.; Paytan, A. 2009. Characterising the oxygen isotope composition of phosphate sources to aquatic ecosystems. Environ. Sci. Technol. 2009, 43, 5190-5196

(36) Zohar, I.; Shaviv, A.; Young, M.; Kendall, C.; Silva, S.; Paytan, A. Phosphorus dynamics in soils irrigated with reclaimed waste water or freshwater: A study using oxygen isotopic composition of phosphate. Geoderma 2010, 159, 109–121.

(37) LeChevallier, M.W.; Welch, N.J.; Smith, D.B. Full-scale studies of factors related to coliform regrowth in drinking water. 1996. Appl. Environ. Microbiol. 62 (7), 2201-2211.

(38) Chowhury, S. Heterotrophic bacteria in drinking water distribution system: A review. Environ. Monit. Assess. 2012, 184, 6086-6137.

(39) El Chakhtoura, J.; Prest, E.; Saikaly, P.; van Loosdrecht, M.; Hammes, F.; Vrouwenvelder, H. Dynamics of bacterial communities before and after distribution of full-scale drinking water network. Water Res. 2015. doi: 10.1016/j.watre.2015.02.015.

(40) Morton, S.C.; Zhang, Y.; Edwards, M.A. Implications of nutrient relaease from iron metal for microbial regrowth in water distribution systems. Water Res. 2005, 39, 2883-2892.

(41) Jaisi, D.P.; Blake, R.E. Advances in using oxygen isotope ratios of phosphate to understand phosphorus cycling in the environment. Adv. Agron., 2014, 125, 1-51.

Figure 1. Global δ18OPO4 data from a range of aquatic ecosystems. Adapted from Davies et al. (2014)25 and the references therein.

Figure 2. Geographical distribution of sites sampled for δ18OPO4 in public water supplies across England and Wales. Contains Ordnance Survey data© Crown copyright and database rights 2015.

Figure 3. Schematic of the modified McLaughlin et al. (2004)32 method used to process phosphate-dosed tap water samples.

Figure 4. Cross plot showing the difference between measured δ18OPO4 value for water samples and the orthophosphoric acid dosing solution (where T-S = 18OtapPO4 - 18OsourcePO4) as a function of the two different source acids and the resulting water types.

Figure 5. A comparison of a) δ18OPO4 and temperature and b) δ18OPO4 and δ18OH2O for collected tap waters that have been dosed with phosphate. Diagonal dashed lines represent the δ18OPO4 equilibrium values for ambient water a) between the measured range of δ18OH2O and b) between 5 and 25°C calculated using the equation given in Chang and Blake (2015)27. Horizontal hashed lines represent maximum/minimum and mean δ18OPO4 values respectively for source A and source B.

Figure 6. . A comparison of measured δ18OPO4, theoretical equilibrium δ18OPO4  and PO4 concentration as a function of distance along a mains tap water distribution network from a water treatment works. Note different scales for measured and theoretical values.

Figure 7.  The range of δ18OPO4 in sources of P to the environment (from Davies et al., 2014)25, including the range of measured δ18OPO4 values in UK mains tap water networks split according to type A and type B .